## BOM
Item | Part no. | Name | Material / spec | Stock / source form | Process | Make/Buy | Qty per kit | Mass g (CAD) | Est. unit cost ₹ (proto) | Line cost ₹ | Supplier candidates | Notes
1 | MPx-SQ2-001 | Inlet cap (bottle side) | 316L; 28 PCO 1881 int. + M48×1.0-6H int.; 8 roof ribs | Ø55 316L bar | CNC turn, single-point PCO + M48 threads; mill ribs; knurl | Make | 1 | 96 | 1300 | 1300 | Peenya CNC job shops (Bangalore) | Measure bottle thread starts before cutting (sheet 2)
2 | MPx-SQ2-002 | Prefilter cup, 20 µm (built in) | 316L 2-layer sintered laminate (20 µm Dutch weave + 0.5 perforated plate), Ø17×28 closed end | Custom laminate cup | Form + sinter-bond (supplier) | Buy | 1 | 4.9 | 800 | 800 | Hengko (CN); Britomatics (Navi Mumbai); SS wire-mesh fabricators | Or make: roll + seam-weld laminate sheet, weld end disc
2a | MPx-SQ2-002a | Prefilter collar | 316L; press-fit Ø15 H7 + laser weld | Ø18 316L bar | CNC turn; laser weld | Make | 1 | 1.9 | 350 | 350 | CNC shop + laser-weld shop
3A | MPx-SQ2-003A | Cassette A · fine (analysis) | Frame 316L Ø45×2.4 + disc Ø40×1.6 asymmetric sintered 316L ~1 µm | Custom disc + Ø48 bar | Disc: supplier; frame: CNC; laser seam weld | Make+Buy | 1 | 17 | 3500 | 3500 | GKN Sinter Metals (SIKA-R AS); Shinkai (CN) asymmetric membrane; Mott (US) | Highest-risk buy item: ask for liquid rating, bubble point, flux data on a Ø40 disc
3B | MPx-SQ2-003B | Cassette B · catalogue fine | Same frame + Ø40×1.6 symmetric sintered 316L, grade 0.2 (≈1.4 µm) | Catalogue disc + Ø48 bar | as 3A | Make+Buy | 1 | 17 | 1200 | 1200 | Hengko; Britomatics; Aris Filtration; Porvair India | Fallback if 3A is slow to source; 3× slower flow
3C | MPx-SQ2-003C | Cassette C · budget fast | Same frame + Ø40×1.6 symmetric sintered 316L, grade 0.5 (≈2.5 µm) | Catalogue disc + Ø48 bar | as 3A | Make+Buy | 1 | 17 | 1100 | 1100 | as 3B | Same flow as A, coarser capture
4 | MPx-SQ2-004 | Base + spout stem | 316L; M48×1.0-6g, M12×1.0-6g; 8 drain ribs; cross-port Ø2 | Ø55 316L bar | CNC turn, mill ribs + tweezer slots, drill port | Make | 1 | 74 | 1300 | 1300 | Peenya CNC job shops
5 | MPx-SQ2-005 | Push-pull sleeve | 316L | Ø14 316L bar | CNC turn | Make | 1 | 6.7 | 300 | 300 | Peenya CNC job shops
10 | MPx-SQ2-010 | Tap adapter (M22 female) | 316L; 28 PCO male neck + M22×1 int.; bore Ø20×31 | Ø35 316L bar | CNC turn | Make | 1 | 94 | 900 | 900 | Peenya CNC job shops | Neck lip Ra ≤ 0.8 to seal on S1
11 | MPx-SQ-011 | M24 → M22 tap adapter | v1 part | Hex 27 316L bar | CNC turn | Make | 1 | 36.1 | 400 | 400 | CNC shop
12 | MPx-SQ-012 | Universal tap ferrule + silicone sleeve | v1 part | Ø25 bar + bought sleeve/clamp | CNC turn; buy sleeve + clamp | Make/Buy | 1 | 40.5 | 450 | 450 | CNC shop; food-grade silicone moulder
13 | MPx-SQ2-013 | Backflush coupler | 316L; 28 PCO 1881 int. + M12×1 int. | Ø35 316L bar | CNC turn | Make | 1 | 76.7 | 800 | 800 | Peenya CNC job shops
14 | MPx-SQ2-014 | Inspection holder + cover glass | 316L dish Ø56×6 + borosilicate Ø50×0.17 | Ø58 bar + bought glass | CNC turn; buy glass | Make/Buy | 1 | 78.5 | 650 | 650 | CNC shop; lab-glass suppliers
S | MPx-SQ2-020 | Seal kit S1–S7 | Silicone 60 ShA, FDA 21 CFR 177.2600 | O-rings + cut gaskets | Buy / cut from sheet | Buy | 1 | 2 | 350 | 350 | AMI Polymer (India) or food-grade O-ring stockists | See Seals tab
F | — | Electropolish + passivation (lot) | ASTM A967 | — | Subcontract | Buy | 1 | 0 | 1500 | 1500 | SS finishing shops (Peenya) | Per batch of parts
|  | Core unit mass, items 1–5 with cassette A + seals (g) | [5 empty] | 202.5
|  | Accessories mass, items 10–14 (g) | [5 empty] | 325.8
|  | Prototype kit cost, all lines (₹) | [7 empty] | 14900
|  | Number of prototype kits | [7 empty] | 3
|  | Prototype budget needed (₹) | [7 empty] | 44700
|  | PD-298 department prototyping cap (₹) | [7 empty] | 50000
|  | Within cap? | [7 empty] | yes
Legend: yellow cells with blue text are estimates or choices to edit; everything else is calculated or from the drawings / CAD.
Note on J2: Rough prototype estimates (one-off CNC in Bangalore). Replace every yellow cell with RFQ quotes.
Note on J5: No public price for asymmetric sintered discs; this is a placeholder until GKN / Shinkai quote.

## Suppliers
Item | Supplier | Location | What they list | Ask in the RFQ | Source
3A | GKN Sinter Metals Filters (SIKA-R AS) | Germany / GKN Powder Metallurgy India | Asymmetric 316L: ~0.2 mm membrane on a coarse support, grades 0.1–3 AS, tubes or discs, 'up to 4×' flow vs standard | Ø40 × ~1.6 disc, finest liquid grade that passes 1 µm; flux at 0.2 bar; bubble point; weldable rim | https://admin.gknpm.com/globalassets/downloads/gkn-sinter-metal-filters/brochures/sika-r-is-as.pdf
3A | Shinkai Filter | China | Asymmetric sintered porous metal membrane, ~0.3 mm layer, down to 0.1 µm, 316L | Same as above; sample discs | https://www.shinkaifilter.com/products/sinter-metal-filter-elements-2/asymmetric-sinter-porous-metal-filter-membrane/
3B, 3C | Hengko | China | Sintered 316L powder or mesh discs 0.2–120 µm; ±0.05 mm; MOQ 100 | Ø40 × 1.6 discs, grades for ≈1.4 µm and ≈2.5 µm liquid rating; samples | https://www.hengko.com/sintered-0-2-120-micron-bronze-316l-stainless-steel-metal-mesh-powder-filter-disc-for-wastewater-treatment-products/
3B, 3C | Indian sintered-disc makers (IndiaMART) | India | Porous SS filter discs | Ø40 × 1.6, 316L, finest grade; liquid absolute rating | https://m.indiamart.com/impcat/porous-filter-disc.html
2 | Hengko / mesh laminators | China / India | Sintered multilayer 316L wire-mesh discs and laminates | 20 µm Dutch weave + perforated plate laminate, formed cup Ø17×28 closed end | https://www.hengko.com/sintered-304-316l-stainless-steel-wire-mesh-filter-screen-products/
1, 2a, 4, 5, 10–14 | CNC turning job shops | Peenya, Bangalore | 316L turning, threading, knurling, laser welding | Drawing set sheets 2–5; 3 kits; electropolish + passivation | local
S1–S7 | AMI Polymer Pvt Ltd (Imaseal) or similar | India | O-rings incl. silicone, food grade | FDA 21 CFR 177.2600 silicone, sizes on Seals tab | https://www.directindustry.com/prod/ami-polymer-pvt-ltd/product-238681-2835732.html

## Seals
ID | Type | Location | Size (ID × CS or OD/ID × t), mm | Qty | Side of filter
S1 | flat gasket | bottle lip on P01 web; P10, P13 | Ø25.5/Ø19 × 1.5 | 1 | dirty
S2 | O-ring | P01 land on cassette top face | 40.5 × 1.5 | 1 | dirty
S3 | O-ring | P04 seat under cassette | 40.5 × 1.5 | 1 | clean
S4 | O-ring | spout stem, sleeve seal | 7 × 1.5 | 1 | clean
S5 | O-ring | plug pin in sleeve outlet | 2.5 × 1.0 | 1 | clean
S6 | flat washer | tap face in P10; P12 ferrule | Ø22/Ø16 × 2 | 2 | dirty
S7 | O-ring | P13 coupler on stem thread shoulder | 10 × 1.5 | 1 | backflush
All silicone 60 ShA, FDA 21 CFR 177.2600, post-cured, unpigmented.

## Flow
Input / result | Value | Unit | Note
Active disc diameter | 38.5 | mm | Inside the frame lip
KL × thickness, cassette A | 13 | mm | 26 × 1.5 / 3 (asymmetric gain, GKN claims up to 4)
KL × thickness, cassette B | 41.6 | mm | grade 0.2: KL 26 × 1.6
KL × thickness, cassette C | 12.8 | mm | grade 0.5: KL 8 × 1.6
Water viscosity | 0.89 | cP | 25 °C
Hand force | 60 | N | comfortable one-hand squeeze (assumption)
Palm contact area | 34 | cm² | 500 mL PET (assumption, bench test 2)
Bottle wall stiffness | 4 | N
Water column above disc | 0.126 | m | full 500 mL bottle, inverted
Tap pressure | 1.5 | bar
Disc area | 0.0011642 | m²
Squeeze pressure | 0.17707 | bar | (F − wall) / palm area + water column
Permeance A | 77848.3208 | L/(m²·h·bar) | Mott: ΔP[psi] = KL·flux[gpm/ft²]·µ[cP]·t[in]
Permeance B | 24327.6003 | L/(m²·h·bar)
Permeance C | 79064.7008 | L/(m²·h·bar)
Squeeze flow A | 0.26745 | L/min | clean media
Squeeze flow B | 0.083579 | L/min
Squeeze flow C | 0.27163 | L/min
Time for 500 mL, A | 112.1697 | s
Tap flow A | 2.2657 | L/min